## Sheet1
Asset Numbers & Description | [8 empty] | Asset Location & Use
Unique Identifier | New WS Asset Ref | Full Item Description | Main Description Category | Asset Description Type | Date acquired | Purchase Value (if known) | Order Number (if known) | Serial No | Location Code (Hide) | Room Name | Location - Room Number and Building | Current Usage Status: In use, In Short Term Storage, In Long Term Storage | Last Person Responsible
Items below up to line 109 are pipettes
CBE/P001 |  | L-2XLS | [5 empty] | A1200375T |  | Calibrate
CBE/P051 |  | L300XLS | [5 empty] | K1284540T |  | Calibrate
CBE/P022 |  | L-1000XLS | [5 empty] | J1274198T |  | GMP
CBE/P031 |  | L-20XLS | [5 empty] | E1231720T |  | H22 B
CBE/P032 |  | L-5000XLS | [5 empty] | B1209154T |  | H22 B
CBE/P033 |  | L-10XLS | [5 empty] | L1109225T |  | H22 B
CBE/106 |  | L-300XLS+ | [5 empty] | D1453154T |  | H22 B
CBE/075 |  | L-1000XLS+ | [5 empty] | C1442098T |  | H22 H B
CBE/P008 |  | L-20XLS | [5 empty] | C1202278T |  | H22 H Lg
CBE/076 |  | L-1000XLS+ | [5 empty] | C1441492T |  | H22 H Lg
CBE/081 |  | L-300XLS+ | [5 empty] | D1453116T |  | H22 H Lg
CBE/P012 |  | L-20XLS | [5 empty] | E1236288T |  | H22 H Sm
CBE/074 |  | L-1000XLS+ | [5 empty] | C1442368T |  | H22 H Sm
CBE/082 |  | L-300XLS+ | [5 empty] | D1453099T |  | H22 H Sm
CBE/098 |  | L-2 | [5 empty] | L1000571A |  | H22 H Sm
CBE/P036 |  | L-2XLS | [5 empty] | A1200409T |  | H22 H-Lg
CBE/P027 |  | E12- 1200XLS | [5 empty] | C1202820U |  | H23
CBE/P028 |  | LA8-50XLS spacer | [5 empty] | H1255278T |  | H23
CBE/P030 |  | E12-300XLS | [5 empty] | J1207402U |  | H23
CBE/P037 |  | E12-300XLS | [5 empty] | J1207541U |  | H23
CBE/P038 |  | LA8-300XLS spacer | [5 empty] | B1208653T |  | H23
CBE/P040 |  | E12-1200XLS | [5 empty] | H1101248U |  | H23
CBE/P042 |  | LA8-300XLS spacer | [5 empty] | J1268986T |  | H23
CBE/P045 |  | E12-50XLS | [5 empty] | K1200631U |  | H23
CBE/P053 |  | EA8-1200XLS | [5 empty] | J1207569U |  | H23
CBE/P054 |  | E12-300XLS | [5 empty] | L1201909U |  | H23
CBE/P026 |  | L-5000XLS | [5 empty] | B1209171T |  | H23 B
CBE/P058 |  | L-10XLS | [5 empty] | B1311377T |  | H23 B
CBE/P063 |  | L-1000XLS | [5 empty] | A1305114T |  | H23 B
CBE/P009 |  | L-20XLS | [5 empty] | E1233255T |  | H23 H
CBE/P017 |  | L-1000XLS | [5 empty] | J1274325T |  | H23 H
CBE/P018 |  | L-1000XLS | [5 empty] | J1272610T |  | H23 H
CBE/P049 |  | L300XLS | [5 empty] | K1288341T |  | H23 H
CBE/102 |  | L-2 | [5 empty] | J1006864A |  | H23 H
CBE/P046 |  | L300XLS | [5 empty] | K1288264T |  | H23 HD (AMBR)
CBE/088 |  | L-20 | [5 empty] | H1033603A |  | H23 HD (AMBR)
CBE/P015 |  | L-300XLS | [5 empty] | C1207514T |  | H23 NC3000/B
CBE/087 |  | L-20 | [5 empty] | J1003257A |  | H23 NC3000/B
CBE/099 |  | L-2 | [5 empty] | J1003700A |  | H23 NC3000/B
CBE/P005 |  | L-10XLS | [5 empty] | G1254219T |  | H25 B
CBE/P024 |  | L-5000XLS | [5 empty] | L1103165T |  | H25 B
CBE/P034 |  | L-1000XLS | [5 empty] | J1272495T |  | H25 B
CBE/P050 |  | L300XLS | [5 empty] | K1284517T |  | H25 B
CBE/P060 |  | L-20XLS | [5 empty] | L1292272T |  | H25 B
CBE/P010 |  | L-20XLS | [5 empty] | E1233242T |  | H25 H
CBE/P020 |  | L-1000XLS | [5 empty] | J1274181T |  | H25 H
CBE/P047 |  | L300XLS | [5 empty] | K1281183T |  | H25 H
CBE/P055 |  | L-2XLS | [5 empty] | C1318403T |  | H25 H
CBE/P011 |  | L-20XLS | [5 empty] | J1148945T |  | H25 HD
CBE/P019 |  | L-1000XLS | [5 empty] | J1273942T |  | H25 HD
CBE/P035 |  | L-300XLS | [5 empty] | J1250577T |  | H25 HD
CBE/097 |  | L-2 | [5 empty] | L1000068A |  | H25 HD
CBE/P066 |  | L-5000XLS | [5 empty] | C1321120T |  | H27 B
CBE/071 |  | L-1000XLS+ | [5 empty] | C1442276T |  | H27 B
CBE/080 |  | L-300XLS+ | [5 empty] | D1453123T |  | H27 B
CBE/086 |  | L-20 | [5 empty] | J1055961A |  | H27 B
CBE/P013 |  | L-20XLS | [5 empty] | J1150220T |  | H27 H Sm
CBE/085 |  | L-300XLS | [5 empty] | G1358870T |  | H27 H Sm
CBE/100 |  | L-2 | [5 empty] | J1006866A |  | H27 H Sm
CBE/P021 |  | L-1000XLS | [5 empty] | J1273873T |  | H27 H-Lg
CBE/P062 |  | L-300XLS | [5 empty] | L1292778T |  | H27 H-Lg
CBE/P064 |  | L-1000XLS | [5 empty] | A1305169T |  | H27 H-Sm
CBE/P003 |  | L-2XLS | [5 empty] | A1200353T |  | H27-H Lg
CBE/P004 |  | L-10XLS | [5 empty] | L1106488T |  | H27-H Lg
CBE/067 |  | L5000XLS | [5 empty] | K1304511T |  | H29 Cell
CBE/073 |  | L-1000XLS+ | [5 empty] | C1441543T |  | H29 Cell
CBE/084 |  | L-300XLS | [5 empty] | G1358736T |  | H29 Cell
CBE/089 |  | L-20 | [5 empty] | L1000228A |  | H29 Cell
CBE/101 |  | L-2 | [5 empty] | J1003661A |  | H29 Cell
CBE/103 |  | PX-100 | [5 empty] | 01M35224 |  | H29 Cell
CBE/072 |  | L-1000XLS+ | [5 empty] | C1442213T |  | H29 Micro
CBE/077 |  | L-300XLS+ | [5 empty] | D1463188T |  | H29 Micro
CBE/092 |  | L-20 | [5 empty] | J1056907A |  | H29 Micro
CBE/095 |  | L-2 | [5 empty] | J1003669A |  | H29 Micro
CBE/104 |  | PX-100 | [5 empty] | 04M84147 |  | H29 Micro
CBE/105 |  | L8-300 XLSPLUS | [5 empty] | B1439040T |  | H29 Micro
CBE/P052 |  | L300XLS | [5 empty] | K1288455T |  | H34 B
CBE/P065 |  | L-5000XLS | [5 empty] | K1285306T |  | H34 B
CBE/068 |  | L-1000XLS+ | [5 empty] | C1441474T |  | H34 B
CBE/091 |  | L-20 | [5 empty] | H1035501A |  | H34 B
CBE/096 |  | L-2 | [5 empty] | J1003715A |  | H34 B
CBE/070 |  | L-1000XLS+ | [5 empty] | C1441748T |  | H34 Canto
CBE/078 |  | L-300XLS+ | [5 empty] | D1453088T |  | H34 Cedex HT
CBE/083 |  | L-300XLS | [5 empty] | F1345777T |  | H34 GUAVA
CBE/090 |  | L-20 | [5 empty] | J1055743A |  | H34 GUAVA
CBE/P056 |  | L-2XLS | [5 empty] | C1318467T |  | H34 PCR
CBE/P057 |  | L-10XLS | [5 empty] | B1311359T |  | H34 PCR
CBE/P059 |  | L-20XLS | [5 empty] | L1292033T |  | H34 PCR
CBE/P061 |  | L-300XLS | [5 empty] | K1282184T |  | H34 PCR
CBE/P029 |  | E12-1200XLS | [5 empty] | H1101267U |  | Store room
CBE/P041 |  | EA8-1200XLS | [5 empty] | J1102144U |  | Store room
CBE/P043 |  | E12-50XLS | [5 empty] | K1200605U |  | Store room
CBE/P044 |  | E12-50XLS | [5 empty] | K1200624U |  | Store room
CBE/069 |  | L-1000XLS+ | [5 empty] | C1442303T |  | Store room
CBE/079 |  | L-300XLS+ | [5 empty] | D1453911T |  | Store room
CBE/093 |  | L-20 | [5 empty] | H1033602A |  | Store room
CBE/094 |  | L-20 | [5 empty] | J1056816A |  | Store room
CBE/P002 |  | L-2XLS | [5 empty] | H125581T |  | Wolfson
CBE/P006 |  | L-10XLS | [5 empty] | G1250533T |  | Wolfson
CBE/P007 |  | L-20XLS | [5 empty] | C1204273T |  | Wolfson
CBE/P014 |  | L-20XLS | [5 empty] | J1148934T |  | Wolfson
CBE/P016 |  | L-1000XLS | [5 empty] | J1274184T |  | Wolfson
CBE/P023 |  | L-1000XLS | [5 empty] | J1274271T |  | Wolfson
CBE/P025 |  | L-5000XLS | [5 empty] | B1209115T |  | Wolfson
CBE/P048 |  | L300XLS | [5 empty] | K1284547T |  | Wolfson
CBE/P039 |  | LA8-50XLS spacer | [5 empty] | E1232181T
| MM5508 | Class 2 Biological Safety Cabinet | [5 empty] | 41204555 |  | H23
| MM5962/ MMEW4402 | Class 2 Biological Safety Cabinet | [5 empty] | 41516569 |  | H23
| MM5963/ MMEW4403 | CO2 Incubator Herasafe 150i | [7 empty] | H23
| MM5964/ MMEW4404 | CO2 Incubator Herasafe 150i | [7 empty] | H23
| MM5826 | CO2 Incubator Galaxy 170R | [7 empty] | H23
| MM6349 | Water purifier, Purite | [7 empty] | H23
| MMEW4522 | water bath, Grant | [5 empty] | UF1348005 |  | H23
| MMEW1587 | Fridge, Labcold | [7 empty] | H23
|  | Vortex, Sciquip | [7 empty] | H23
| MM5965 | Benchtop Centrifuge Megafuge 16 | [5 empty] | 41518375 |  | H23
| MM6180 | Microscope, Evos | [5 empty] | E1515-1727-183 |  | H23
| MMEW5722 | Fridge, LEC | [5 empty] | 60304852444441696 |  | H23
|  | Syringe pump, Harvard apparatus | [5 empty] | D-400247 |  | H23
|  | Syringe pump, Harvard apparatus | [5 empty] | D-400248 |  | H23
| WS0073 | Prodigy - Bioreactor system, Clinimacs | [5 empty] | 319 |  | H23 |  | On loan from collaborator
| WS0112 | Sterile tubig welder, Terumo | [5 empty] | 201711021 |  | H23
| MMEW3106 | Black extension lead, Brennenstuhl | [7 empty] | H23
| MMEW4275 | Aspirator pump | [5 empty] | 10-ELMEL37 |  | H23
| MMEW4279 | Aspirator pump | [7 empty] | H23
| MMEW2979 | White extension cable | [7 empty] | H23
| MMEW4418 | HP laptop Elite Book 8560P and charger | [7 empty] | H23
| MMEW4417 | Xcelligence RTCA (2 part to this) | [5 empty] | 28-1-1306-1543-4 |  | H23
| MM5967 | Class 2 Biological Safety Cabinet (small) | [7 empty] | H27
| MM5511 | Class 2 Biological Safety Cabinet (large) | [7 empty] | H27
| MM6414 | CO2 Incubator, Panasonic (top) | [7 empty] | H27
| MM6415 | CO2 Incubator, Panasonic (bottom) | [7 empty] | H27
| MMEW3521 | water bath aqua 26 plus, Grant | [7 empty] | H27
| MM5105 | Microcentrifuge, Fisher scientific | [7 empty] | H27
| MM5621 | Centrifuge, Sigma 3-16PK, Sciquip | [7 empty] | H27
| MMEW2620 | Fridge/Freezer Labcold | [7 empty] | H27
| MM5566 | Evos microscope, AMG | [7 empty] | H27
| MMEW5548 | Vortex, Sciquip/Fisher | [7 empty] | H27
|  | Hot plate stirrer, Labinco | [7 empty] | H34
| MMEW6385 | Pipette boy, SLS | [7 empty] | H27
| MMEW6386 | Pipette boy, SLS | [7 empty] | H27
|  | Nitrogen and cryogen free control rate freezer, Grant | [7 empty] | H25
| MMEW3436 | Pipette boy, S1 Thermo Fisher Scientific | [7 empty] | H27
| MMEW5357 | Pipette boy, Integra | [7 empty] | H27
| MMEW3641 | Aspiration pump, Thermo Fisher Scientific | [7 empty] | H27
| MMEW4274 | Aspiration pump, Thermo Fisher Scientific | [7 empty] | H27
| MMEW6149 | Phone, BT | [7 empty] | H27
|  | MACS magnetic stand, Miltenyi | [7 empty] | H27
|  | MACS magnetic stand, Miltenyi | [7 empty] | H27
| MM5659 | Analytical balance, Mettler Toledo | [7 empty] | H34
| MM6087 | BD Facs Canto II | [7 empty] | H34
| MMEW4361 | BD FACSJazz cell sorter | [7 empty] | H34
| MM3968 | Benchtop autoclave, Prestige | [7 empty] | H34
| MMEW4595 | Cedex Bio HT Bioprocessor analyser, Roche | [7 empty] | H34
| MMEW3235 | Microcentrifuge, Fisher scientific | [7 empty] | H34
| MM5322 | Fume cupboard, Captair | [7 empty] | H34
| MM5646 | Guava Flow cytometer, Millipore | [7 empty] | H34
|  | Biocool control rate freezer, SP Scientific | [7 empty] | Temporarily in Chem Eng.
| MMEW5620 | Ultra low freezer, Thermo Fisher | [7 empty] | H34
|  | Ultra low freezer, Thermo Fisher | [7 empty] | H34
|  | Ultra low freezer, New Bruswick Scientific | [7 empty] | H34
| MM4539 | Real time PCR system, Applied Biosystems | [7 empty] | H34
| MM5337 | Omega micrplate reader | [7 empty] | H34
| MMEW4045 | Fridge/Freezer, Whirlpool | [7 empty] | H34
| MM5859 | Freezer -20, Liebherr | [7 empty] | H34
| MMEW5860 | Freezer -20, Liebherr | [7 empty] | H34
| MM5861 | Freezer -20, Liebherr | [7 empty] | H34
| MM5783 | Nano drop 200 spectrophotometer, Thermo Fisher Scientific | [7 empty] | H34
| MMEW5328 | Fridge/Freezer, Bush | [7 empty] | H34
| MMEW3803 | Sonicating water bath, Ultawave | [7 empty] | H34
| MM6048 | Microscope, Nikon | [7 empty] | H34
| IDELXYZ11466 | Mini orbital shaker, Stuart | [7 empty] | H34
| MM6088 | Plasma cleaner, Harrick Plasma | [7 empty] | H34
| MMEW4319 | Osomat 030 cryoscopic osmometer, Genotec | [7 empty] | H34
|  | PHD Ultra pump, Harvard Apparatus | [7 empty] | H34
|  | PHD Ultra pump, Harvard Apparatus | [7 empty] | H34
|  | Microcentrifuge, Sartorius Stadium | [7 empty] | H34
| MM6262 | Megafuge 40R, Thermo Fisher Scientific | [7 empty] | H34
| MM6170 | Bio RAD Bio Plex MAGPIX | [7 empty] | H34
|  | Nucleocounter, Chemometec (MMEW4981-power supply) | [7 empty] | H34
|  | shaker, Roche | [7 empty] | H34
|  | Heated shaker, Corning | [7 empty] | H34
| MMEW3035 | high temperature water bath, Grant (Donated by AZ) | [7 empty] | H34
| MM6264 | Clean View UV cabinet, Cleaver | [7 empty] | H34
| MMEW0629 | Hotplate, Labinco L-81 | [7 empty] | H34
| MMEW4359 | Ultrasonic cleaner, JSP | [7 empty] | H34
| MMEW3175 | Small water bath, Sub Aqua 2 Plus | [7 empty] | H34
| MMEW1586 | Vortex, Biocote | [7 empty] | H34
| MMEW3331 | Vortex, SciQuip | [7 empty] | H34
| MMEW4968 | Sciquip-microplate mixer | [7 empty] | H34
| MMEW6587 | Vortex, Fisher Brand | [7 empty] | H34
|  | Vortex, SciQuip | [7 empty] | H34
| MM5833 | Pump. Masterflex | [7 empty] | H34
| MM6068 | Hot Plate stirrer, Corning PC-420D | [7 empty] | H34
| MMEW2426 | Extension lead, Brennenstuhl | [7 empty] | H34
| MM4356 | Microfuge, Fisher | [7 empty] | H34
| MM5337 | Plate reader, BMG labtech | [7 empty] | H34
| MM3961 | Weighing balance, Denver Instruments APX-100 | [7 empty] | H34
| MM5659 | Metler Toledo AT261 Delta Range | [7 empty] | H34
| MMEW4320 | Heating block, Grant QBA2 | [7 empty] | H34
| MM6087 | FACS Analyser, BD | [7 empty] | H34
| MM5512 | Class II Biological Safety cabinet | [5 empty] | 41204552 |  | H29
| MM4535 | Biospec mini | [5 empty] | U20024400207 |  | H29
| MMEW6043 | Fridge LEC | [7 empty] | H29
| MMEW4680 | Freezer LEC | [7 empty] | H29
| MM6121 | CO2 incubator Herasafe 150i Thermo Fisher | [5 empty] | 41607959 |  | H29
| MM6122 | Centrifuge Megafuge 16 | [5 empty] | 41591375 |  | H29
| MMEW4790 | water bath, Grant | [5 empty] | UE1438002 |  | H29
| MMEW4788 | weighing balance, Ohaus | [5 empty] | 8334406206 |  | H29
| MM6270 | Chemi Doc-162 Imager, UVP | [5 empty] | 97-0693-04 |  | H29
| chem eng kit | Microscope, Nikon Eclipse E100 | [5 empty] | 822240 |  | H29
| MM6462 | Incu-Shake MIDI, Sciquip | [7 empty] | H29
| MMEW6139 | Mass Spec, Advion | [5 empty] | Now is sports sciences. |  | H29
| MMEW5674 | Microwave, Tesco | [5 empty] | EB01781780116516112273 |  | H29
| chem eng kit | Hotplate, Bibby | [5 empty] | CB160/01016 |  | H29
| MMEW1737 | Electrophoresis power supply, Fisher scientific power 300 | [5 empty] | 2761207 |  | H29
| MM6049 | Biostation CT, Nikon | [5 empty] | 1130006 |  | H30
Bank 4 | MM5468 | Cryostores Biorack 750 | [7 empty] | H30
Bank 5 | MM6412 | Cryostores Biorack 750 | [7 empty] | H30
Bank 6 |  | Cryostores Biorack 750 | [7 empty] | H30
Bank 7 | MM6411 | Cryostores Biorack 750 | [7 empty] | H30
Experimental Bank |  | Cryostores Biorack 750 | [7 empty] | H30
| MMEW3011 | Freezer, LEC | [7 empty] | H30
| FE0440 | Fluorescent Inverted Microscope | [5 empty] | 531256 |  | H30
CBE044 | FE0463 | Autoclave, Systec VX-95 | [5 empty] | FE0463 |  | H31
CBE045 | FE0464 | Autoclave, Systec VX-95 | [5 empty] | FE0464 |  | H31
Bank 1 | MM5890 | Cryostores Biorack 750 | [7 empty] | H31
Bank 2 | MM3974 | Cryostores Biorack 750 | [7 empty] | H31
Bank 3 |  | Cryostores Biorack 750 | [7 empty] | H31
| MM5510 | Class II Biological Safety cabinet, ducted | [5 empty] | 41204549 |  | H25
| MM5509 | Class II Biological Safety cabinet, recirculatory | [5 empty] | 41204554 |  | H25
| MMEW6239 | CO2 Incubaror, Herasafe cell 150i | [5 empty] | 42192149 |  | H25
| MMEW6138 | CO2 Incubaror, Herasafe cell 150i | [5 empty] | 42187276 |  | H25
| MMEW5489 | Centrifuge, Eppendorf 5804 | [5 empty] | 5804YH814597 |  | H25
| MMEW3809 | Water bath | [5 empty] | 960931004 |  | H25
| MMEW3491 | Fridge, Labcold | [7 empty] | H25
| MMEW3492 | Freezer, Labcold | [5 empty] | W9A5925 |  | H25
| 5000436999CG01 | Microscope, Nikon | [5 empty] | 603247 |  | H25
| MMEW6238 | CO2 Incubaror, Herasafe cell 150i | [5 empty] | 42218841 |  | H25
| MM6292 | Asymptote ViaFreeze Research | [5 empty] | VFR0715005 |  | H25
| IDELXYZ11466 | Shaker, Stuart | [5 empty] | R210000160 |  | H25
| MMEW3487 | Micro centrifuge, Sartorius Stedium | [5 empty] | 131595 |  | H25
| MM5548 | Controlled rate freezer, Grant | [5 empty] | MM1121001 |  | H25
| MM4305 | Compact Select, The Automation Partnership (TAP) | [7 empty] | H21/22
| MMEW3514 | Fridge, Labcold | [5 empty] | B012173 |  | H21/22
| MM5505 | CO2 incubator, Sanyo MCO-19M | [5 empty] | 11010021 |  | H21/22
| MM5504 | CO2 incubator, Sanyo MCO-19M | [5 empty] | 11010023 |  | H21/22
| MM5320 | Automated cell counter, Invitrogen | [5 empty] | 10031-017 |  | H21/22
| MM5539 | Bench top centrifuge, Sigma 3-16PK, Sciquip | [5 empty] | 137665 |  | H21/22
| MM5538 | Microcentrifuge, Sigma 1.14 | [5 empty] | 139398 |  | H21/22
| MM5507 | Class II Biological Safety cabinets | [5 empty] | 41204548 |  | H21/22
| MM5506 | Class II Biological Safety cabinets | [5 empty] | 41204550 |  | H21/22
| MM5495 | Advanced Microscale Bioreactor (AMBR) workstation 24 | [5 empty] | R1-010 |  | H21/22
| MMEW3513 | Waterbath sub Aqua 26 | [5 empty] | QV1103007 |  | H21/22
| MMEW6588 | Vortex, Fisherbrand | [5 empty] | 455676 |  | H21/22
| MMEW3484 | PH meter, Metler Toledo | [5 empty] | 1232125479 |  | H21/22
| MMEW3240 | Analytical Scales PK-401, Denver | [5 empty] | 039RCF045 |  | H21/22
| MM5558 | Microscope, Nikon Eclipse Ti | [5 empty] | 533902 |  | H21/22
| MM5336 | Cell viability analyser, Vi-cell-XR, Beckman Coulter | [7 empty] | H21/22
|  | Automated cell counter, Countess | [7 empty] | H21/22
| MMCT4845 | Imaging computer, Viglen | [7 empty] | H21/22
| MM5496 | Biological safety cabinet, Esco | [5 empty] | 51035 |  | H21/22
| MMEW6590 | Magnetic Stirrer, Topolino, IKA | [5 empty] | 50.0741 |  | H21/22
| MMEW3233 | Freezer, LEC | [7 empty] | T208b (Wolfson)
| MMEW6066 | Fridge, LEC | [7 empty] | T208b (Wolfson)
| MM3960 | Class II Biological Cabinet, Faster | [5 empty] | BSCG26103 |  | T208b (Wolfson)
| MM5608 | Class II Biological Cabinet, Herasafe KS | [5 empty] | 41204553 |  | T208b (Wolfson)
| MM5481 | CO2 Incubator, Heracell 150i | [5 empty] | 41177819 |  | T208b (Wolfson)
| MMEW4960 | CO2 Incubator, Galaxy S, model no. 170-200 | [5 empty] | 2328 |  | T208b (Wolfson)
| MMEW3791 | Heraeus Biofuge Primo R, Thermo Scientific | [5 empty] | 41202355 |  | T208b (Wolfson)
| MM3574 | Microscope, Olympus CKx41 | [7 empty] | T208b (Wolfson)
|  | Critical point dryer, Quorum technologies | [7 empty] | currently in Chemistry
| MM3967 | Elga water purifier, option S7 | [7 empty] | T208b (Wolfson)
| MM6427 | Temperature incubator, Ascon Technologic | [7 empty] | T208b (Wolfson)
| MMEW3228 | Water bath, Clifton | [5 empty] | 90887 |  | T208b (Wolfson)
| MM6428 | Thermo Forma Reach in CO2 incubator and roller units | [5 empty] | 300889 (Donated) |  | T208b (Wolfson)
| MM4508 | Autoclave, Systec DX 90 | [5 empty] | 741 |  | T208b (Wolfson)
| MMEW3238 | Balance adventurer Pro, Ohaus | [5 empty] | 8732077813 |  | T208b (Wolfson)
| MMEW3237 | Balance, Ohaus | [5 empty] | 8732077775 |  | T208b (Wolfson)
| MMEW5995 | Microcentrifuge, Minispin, Eppendorf | [7 empty] | T208b (Wolfson)
| MMEW3694 | Vortex, Fisherbrand | [5 empty] | 25095 |  | T208b (Wolfson)
| MMEW6071 | Microscope, Kern Optics | [5 empty] | OME14C0153 |  | T208b (Wolfson)
| MM6431 | minus 80 freezer, National lab Proimaster (donated) | [7 empty] | T208b (Wolfson)
| MMEW5997 | Spectrophotometer, Shimadzu | [7 empty] | T208b (Wolfson)
| MMEW5998 | Microbiological incubator, orbital incubator | [7 empty] | T208b (Wolfson)
| MM6194 | Atomic Force Microscope, Accurion | [7 empty] | T208b (Wolfson)
| MM5607 | minus 80 freezer, Fryka | [7 empty] | T208b (Wolfson)
| MMEW5875 | Heat sealer, ME-300EFN | [5 empty] | 515975 |  | T208b (Wolfson)
| MM5104 | CO2 Incubator, Thermo Scientific, Heraeus, BBD6220 | [7 empty] | H09 (CTMF)
| MM5292 | GMP Compact Select, The Automation Partnership (TAP) | [7 empty] | H11 (CTMF)
| MM5102 | Fridge, Thermo Scientific | [7 empty] | H09 (CTMF)
| MM5929 | Freezer, Liebherr Comfort | [7 empty] | H09 (CTMF)
| MMEW3797 | Cryostore, Thermo Fisher | [5 empty] | 508297-207 |  | H08 (CTMF)
| MM5107 | Cryostorage pressurised dewar, Statebourne | [7 empty] | H06 (CTMF)
| MM5106 | Cryostorage pressurised dewar, Statebourne | [7 empty] | H06 (CTMF)
| MM5930 | Fridge, Liebherr | [7 empty] | H11 (CTMF)
| MM5503 | Biological safety cabinet, Herasafe KS | [5 empty] | 41203195 |  | H09 (CTMF)
| MM4271 | Controlled rate freezer, Planar Kryo 560-16 | [7 empty] | H08 (CTMF)
| MMEW6589 | Vortex, Fisherbrand | [5 empty] | 455977 |  | H11 (CTMF)
| MMEW5723 | minus 20 freezer, Liebherr Profiline | [5 empty] | 83.817.891.9 |  | H18
| MMEW6237 | minus 20 freezer, Labcold | [5 empty] | 7144231 |  | H18
| CR217 | minus 20 freezer, LEC | [7 empty] | H18
| MMEW1822 | Orbital spinner, Nickel Electro Ltd | [5 empty] | 76459 |  | H17
| MMEW5568 | Tube roller, Biorad | [5 empty] | A5090278 |  | H17
| MMEW3009 | minus 20 freezer, Thermo Scientific, R600A | [5 empty] | 20083594462 |  | H14
| MMEW3292 | minus 20 chest freezer, Norfrost | [5 empty] | 0911/0828078 |  | H14
| MMEW2993 | Mini orbital shaker, Stuart SSM1 | [5 empty] | R210000178 |  | G09
| MMEW4789 | Evos microscope, Life Technologies | [5 empty] | A2114-FLD2-005 |  | G09
| MM6531 | Applikon Biotechnology | [5 empty] | P0012764/12 |  | G09
| MMEW3816 | Biostat B plus, Sartorius Stedim | [5 empty] | 07352/08 |  | G09
| MMEW5978 | Biostat B plus, Sartorius Stedim | [5 empty] | 07357/08 |  | G09
| MMEW3813 | Biostat B plus, Sartorius Stedim | [5 empty] | 07351/08 |  | G09
|  | Gas Analyser, Tandem | [5 empty] | 0329-TGA |  | G09
| MMEW3815 | Gas Analyser, Tandem | [5 empty] | 0328-TGA |  | G09
| MMEW3823 | Pump, Sogevac | [5 empty] | 300010943266 |  | G09
| MMEW4605 | Das Gip Bioreactor, Eppendorf, DGDXCC04 | [5 empty] | CTPC06017 |  | G09
| MMEW5615 | Microwave, Tesco | [7 empty] | V01
| MM5265 | Fridge | [7 empty] | V01
FM asset ref. 018604 | MM6266 | Ice machine, Scotsman AF80 | [7 empty] | V01