## QS-Form-021: Emergency Test & Examination Record of BSCs and Fume Hoods

Date:

Anemometer ID:

Anemometer Calibration Date:

| Room No | BSC ID | Air Barrier Velocity (> 0.4 m/sec) | Laminar Airflow Velocity (0.25 – 0.5 m/sec) | PER Value (>60%) | Corrective Action (if any) | Signature |
| --- | --- | --- | --- | --- | --- | --- |
| H09 |  |  |  |  |  |  |
| H21 |  |  |  |  |  |  |
| H22 |  |  |  |  |  |  |
| H22 |  |  |  |  |  |  |
| H23 |  |  |  |  |  |  |
| H23 |  |  |  |  |  |  |
| H25 |  |  |  |  |  |  |
| H25 |  |  |  |  |  |  |
| H27 |  |  |  |  |  |  |
| H27 |  |  |  |  |  |  |
| H29 |  |  |  |  |  |  |
| H34 |  |  |  |  |  |  |
| T.2.08B |  |  |  |  |  |  |
| T.2.08B |  |  |  |  |  |  |

NOTE: If the cabinet is moved or the surroundings alter significantly results of the above tests become invalid and the test should be repeated