Clean-up after Mycoplasma Infection Record

Room……………………………………..

Completion Date …………………….   			Name(s)……………………………

| Equipment | Date(s) completed | Signed | Comments |
| --- | --- | --- | --- |
| *Water Bath – Clean (including changing water) and document |  |  |  |
| *Centrifuge – clean and document |  |  |  |
| *BSC(s) Inspect, clean and document |  |  |  |
| *Incubator(s), fridges and freezers – Clean and document |  |  |  |
| Task | Date(s) completed | Signed | Comments |
| Empty waste bins and dispose all waste |  |  |  |
| Clean sinks and flush taps for 5 minutes |  |  |  |
| Refill 70% IMS & 1% Virkon spray bottles |  |  |  |
| Dispose all contaminated consumables, PPE . Re-stock lab with consumables |  |  |  |
| Wipe ALL surfaces. Dispose all the cleaning material (Lab chairs, shelves, cupboards). |  |  |  |
| Mop the floors. Dispose the mop head. |  |  |  |
| Restock lab with PPE, gloves, paper towels & soap |  |  |  |

NOTE - Mycoplasma Ex should be used exclusively as the primary disinfectant, unless otherwise stated.

Lot number ________                         Exp date_____________

* Please find supplementary information sheet for details.

Inspected by……………………………………Date……………………………