|  |  |
| --- | --- |
| **QS005: INCUBATOR CALIBRATION TEST RECORD SHEET** | |
| **Building/Room:** |  |
| **Incubator Model/Name:** |  |
| **Incubator ID** |  |

|  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Date** | **Operator** | **Test Duration (10-12 hours)** | **Data logger ID/Location**  **Top (T)**  **Middle (M)**  **Bottom (B)** | **Min/Max Recorded Temperature (°C)**  **Specification: 36.0-38.0°C** | | | | | | **Comment/corrective action (e.g add reference to data set)** | **Retest date** |
| **Top shelf** | | **Middle Shelf** | | **Bottom Shelf** | |
| **Min** | **Max** | **Min** | **Max** | **Min** | **Max** |
|  |  |  | **T:** |  |  |  |  |  |  |  |  |
| **M:** |  |  |  |  |  |  |
| **B:** |  |  |  |  |  |  |
|  |  |  | **T:** |  |  |  |  |  |  |  |  |
| **M:** |  |  |  |  |  |  |
| **B:** |  |  |  |  |  |  |
|  |  |  | **T:** |  |  |  |  |  |  |  |  |
| **M:** |  |  |  |  |  |  |
| **B:** |  |  |  |  |  |  |
|  |  |  | **T:** |  |  |  |  |  |  |  |  |
| **M:** |  |  |  |  |  |  |
| **B:** |  |  |  |  |  |  |
|  |  |  | **T:** |  |  |  |  |  |  |  |  |
| **M:** |  |  |  |  |  |  |
| **B:** |  |  |  |  |  |  |
|  |  |  | **T:** |  |  |  |  |  |  |  |  |
| **M:** |  |  |  |  |  |  |
| **B:** |  |  |  |  |  |  |
|  |  |  | **T:** |  |  |  |  |  |  |  |  |
| **M:** |  |  |  |  |  |  |
| **B:** |  |  |  |  |  |  |