FSOP 026.1                     FUME CUPBOARD LOG BOOK

Building …………………………………….

Room ………………………………………..

FC ……………………………………………..

TO BE KEPT IN AN ACCESSIBLE LOCATION WITH THE ASSOCIATED FUME CUPBOARD

User Checks

- Make daily checks of general condition (clean, tidy, uncontaminated, etc).

- Is there any visible damage or faults noticeable?

- Is the fan run indicator light illuminated?

- Make pre-use checks of warning lights, air flow gauges and sash alarms where fitted.

- Report any faults to lab manager/responsible person.

Lab Supervisor/Manager Weekly Checks

- Make weekly checks of warning lights, air flow gauges and sash alarms (where fitted). Keep record in log book.  NB This may be delegated to trained users.

- Report faults following University procedures.

- Where there are concerns about the effectiveness of a fume cupboard, the following checks may be undertaken by competent personnel to ascertain:

  - Face velocity, using an anemometer

  - Air flow visualisation (smoke test)

- Complete the table below at periods not exceeding seven days

- Display Reading – Record the velocity display ( >0.4 m/s)

Log book

| Date | Comments | Name | Display Reading |
| --- | --- | --- | --- |

Log book

| Date | Comments | Name | Display Reading |
| --- | --- | --- | --- |

Log book

| Date | Comments | Name | Display Reading |
| --- | --- | --- | --- |