## H23
H23
Lab Leader
Month/Year
Asset No. | Equipment | Serial No. | Person Responsible | Maintenance Performed | By Who | Date
MM6180 | Microscope, Evos
MMEW5722 | Fridge, LEC |  | CK/KS
Chemical Engineering? | Syringe pump, Harvard apparatus | D-400247
Chemical Engineering? | Syringe pump, Harvard apparatus | D-400248
MMEW4275 | Aspirator pump |  | CK/KS
MMEW4279 | Aspirator pump |  | CK/KS
MM6349 | Purite Water purifier |  | CK/KS
| Pipettes |  | CK/KS
| Pipette Buoys |  | CK/KS
MM5965 | Centrifuge | 41518375 | JB
MM5963 | Heracell Incubator |  | JB
MM5964 | Heracell ncubator |  | JB
MM5508 | Herasafe BSC | 41204555 | CK/KS
MM5962 | Herasafe BSC | 41516569 | CK/KS
MMEW1571 | Labcold Freezer | W7H6500 | CK/KS
MM5826 | Incubator New Brunswick Galaxy 170R | 42671 | JB
MMEW4522 | Grant Water Bath | UF1348005 | Housekeeping
No Assett | Stuart mini oribital shaker | ELXYZ11466
MMEW43359 | JSP Ultrasonic Cleaner
MMEW1587 | Labcold Fridge | W7J9665 | CK/KS

## H21H22
H21/H22
Lab Leader
Month/Year
Asset No. |  | Serial No. | Person Responsible | Maintenance Performed | By Who | Date
MMEW3514 | Fridge, Labcold | B012173 | CK/KS
MM5505 | CO2 incubator, Sanyo MCO-19M | 11010021 | JB
MM5504 | CO2 incubator, Sanyo MCO-19M | 11010023 | JB
MM5539 | Bench top centrifuge, Sigma 3-16PK, Sciquip | 137665 | JB
MM5538 | Microcentrifuge, Sigma 1.14 | 139398 | JB
MM5507 | Class II Biological Safety cabinets | 41204548 | CK/KS
MM5506 | Class II Biological Safety cabinets | 41204550 | CK/KS
MM5495 | Advanced Microscale Bioreactor (AMBR) workstation 24 | R1-010 | KG
MMEW3513 | Waterbath sub Aqua 26 | QV1103007 | RJT group
MMEW6588 | Vortex, Fisherbrand | 455676 | RJT group
MMEW3484 | PH meter, Metler Toledo | 1232125479 | KEG
MMEW3240 | Analytical Scales PK-401, Denver | 039RCF045 | RJT group
MM5558 | Microscope, Nikon Eclipse Ti | 533902
MM5336 | Cell viability analyser, Vi-cell-XR, Beckman Coulter | AN41215 | KEG
MM5320 | Automated cell counter, Countess | 10031-017 | RJT group
MMCT4845 | Imaging computer, Viglen |  | RJT group
MMEW3053 | Lenovo? |  | RJT group
MMEW6507 | UPS Sentinel PRO | Riello | KG
MM5496 | Biological safety cabinet, Esco | 51035 | CK/KS/KG
| Aspirtator Pumps |  | CK/KS
| Pipettes |  | CK/KS
No asset | KR Analytical Chemyx | 44260 | KG
| Pipette Buoys |  | CK/KS

## H27
H27
Lab Leader
Month/Year
Asset No. | Equipment | Serial No. | Person Responsible | Maintenance Performed | By Who | Date
MM5967 | Class 2 Biological Safety Cabinet (small) | 41516568 | CK/KS
MM5511 | Class 2 Biological Safety Cabinet (large) | 41204551 | CK/KS
MM6414 | CO2 Incubator, Panasonic (top) | 16030051 | JB
MM6415 | CO2 Incubator, Panasonic (bottom) | 16030047 | JB
MMEW3521 | water bath aqua 26 plus, Grant |  | JH
MM5105 | Microcentrifuge, Fisher scientific | 40903208 | JB/JH
MM5621 | Centrifuge, Sigma 3-15PK, Sciquip | 910086 | JB/JH
MMEW2620 | Fridge/Freezer Labcold | A010716 | CK/KS
MM5566 | Evos microscope, AMG |  | JH
MMEW3638 | Vortex Sciquip | VA10001167
MMEW5548 | Vortex, Sciquip/Fisher | 371926
MMEW6385 | Pipette boy, SLS |  | CK/KS
MMEW6386 | Pipette boy, SLS |  | CK/KS
MMEW3436 | Pipette boy, S1 Thermo Fisher Scientific |  | CK/KS
MMEW5357 | Pipette boy, Integra |  | CK/KS
MMEW3641 | Aspiration pump, Thermo Fisher Scientific | 113986 | CK/KS
MMEW4274 | Aspiration pump, Thermo Fisher Scientific | 130490 | CK/KS
| MACS magnetic stand, Miltenyi |  | JH/RJT
| MACS magnetic stand, Miltenyi |  | JH/RJT
MMEW4418 | HP laptop Elite Book 8560P and charger |  | RJT group
| Pipettes |  | CK/KS
MMEW4417 | Xcelligence RTCA (2 part to this) |  | RJT Group | PH

## H25
H25
Lab Leader
Month/Year
Asset No. | Equipment | Serial No. | Person Responsible | Maintenance Performed | By Who | Date
MM5510 | Class II Biological Safety cabinet, ducted | 41204549 | CK/KS
MM5509 | Class II Biological Safety cabinet, recirculatory | 41204554 | CK/KS
MMEW6239 | CO2 Incubaror, Herasafe cell 150i | 42192149 | JB
MMEW6138 | CO2 Incubaror, Herasafe cell 150i | 42187276 | JB
MMEW5489 | Centrifuge, Eppendorf 5804 | 5804YH814597 | JB
MMEW3809 | Water bath | 960931004 | Housekeeping
MMEW3491 | Fridge, Labcold | W8L5720 | CK/KS
MMEW3492 | Freezer, Labcold | W9A5925 | CK/KS
5000436999CG01 | Microscope, Nikon | 603247
MMEW6238 | CO2 Incubaror, Herasafe cell 150i | 42218841 | JB
MM6292 | Asymptote ViaFreeze Research | VFR0715005 | JH
MMEW5277 | PH Meter Accumet | AB92346985
| Pipettes |  | CK/KS
| Pipette bouys |  | CK/KS
| Aspirator Pump | MMEW2511 | CK/KS
MMEW7442 | Fisherbrand Vortex | 18121195
MMEW4320 | Grant QBA2 | 500083961CG
| Aspirtator pump |  | CK/KS
MMEW3487 | Micro centrifuge, Sartorius Stedium | 131595 | JB

## H34
H34
Lab Leader
Month/Year
Asset No. | Equipment | Serial No. | Person Responsible | Maintenance Performed | By who | Date
MM5659 | Analytical balance, Mettler Toledo
MM6087 | BD Facs Canto II | V338962D2118 | KG/CB
MMEW4361 | BD FACSJazz cell sorter | JZ6554890007 | KC
MM3968 | Benchtop autoclave, Prestige |  | CK/KS |  |  |  | Q centrifuge
MMEW4595 | Cedex Bio HT Bioprocessor analyser, Roche | 600036 | PH/JH/KEG
MMEW3235 | Microcentrifuge, Fisher scientific | 41175806 | JB
MM5322 | Fume cupboard, Captair | SD3211550210 | KS
MM5646 | Guava Flow cytometer, Millipore
MMEW5620 | Ultra low freezer, Thermo Fisher © | 148689 | CK/KS
MM5098 | Ultra low freezer, Thermo Fisher (B) |  | CK/KS
| Ultra low freezer, New Bruswick Scientific (A) | 100541230607 | CK/KS
MM6514 | Applied Biosystems 96 well fast thermal cyler | 299011875 | JB
MM4539 | Real time PCR system, Applied Biosystems Step one plus | 271000497 | JB
MM5337 | Omega microplate reader | 4150739
MMEW4045 | Fridge/Freezer, Whirlpool |  | CK/KS
MM5859 | Freezer -20, Liebherr | 820375180 | CK/KS
MMEW5860 | Freezer -20, Liebherr | 820375180 | CK/KS
MM5861 | Freezer -20, Liebherr | 820752424 | CK/KS
MM5783 | Nano drop 200 spectrophotometer, Thermo Fisher Scientific | [5 empty] | Maryam
MMEW5328 | Fridge/Freezer, Bush |  | CK/KS
MMEW3803 | Sonicating water bath, Ultawave | 47856
MM6048 | Microscope, Nikon?
IDELXYZ11466 | Mini orbital shaker, Stuart?
MMEW4319 | Osomat 030 cryoscopic osmometer, Genotec | 100601 | KEG/JH
MM6061 | PHD Ultra pump, Harvard Apparatus
MM5660 | Microcentrifuge,Fisher Accuspin | 40503733
MM6262 | Megafuge 40R, Thermo Fisher Scientific | 41740981 | JH/JB
MM6170 | Bio RAD Bio Plex MAGPIX |  | CB
MMEW4590 | shaker, Roche | 51310368
MM6068 | Heated shaker, Corning?
MMEW3035 | high temperature water bath, Grant (Donated by AZ) | 39238016
MM6264 | Clean View UV cabinet, Cleaver
MMEW0629 | Hotplate, Labinco L-81
MMEW3175 | Small water bath, Sub Aqua 2 Plus | QQ1029003
MMEW3331 | Vortex, SciQuip
MMEW4968 | Sciquip-microplate mixer | VC3A001152
MMEW6589 | Vortex Fisher
MMEW6587 | Vortex, Fisher Brand
MM6108 | Vortex, SciQuip IKA | 3410535
MM5833 | Pump. Masterflex Cole Palmer
MM6068 | Hot Plate stirrer, Corning PC-420D | in S3 temporary
MM4356 | Microfuge, Fisher Micro 17R | 40638109
MM3961 | Weighing balance, Denver Instruments APX-100
MM5659, MM4629 | Metler Toledo AT261 Delta Range x2
MMEW5925 | Oven | 17D290
MMEW5744 | Heating block Grant QBD2 | J21701004
MM6107 | 2100 Bioanalyser Agilent | DE72905405
MMEW4321 | Orbital Shaker Sanyo | 11-04-0001
MM5863 | Cryostorage Unit (8) | Statbourne
MMEW1737 | Electrophoresis power supply.Fisher | 27-61-207
MMEW5327,MMEW6140,MMEW4508,MM6020, MMEW5326 | ADT Group Equipment Filter Seperater ?? ADT equipment from cambridge
MMEW4794 | Feed for bioreactor
MMEW1766 | Unisave | 710503
Chem Eng 500032352 | Magnetic Stirrers x 4 | Bell-ennium
MMEW4614 | Vante
MMEW6144 | mini see saw rocker Stuart | R230000485
No Asset | Microplate Mixer Sciquip | VC169AA000058
MMEW4362 | Lauda Ecoline
Pipettes
MMEW2483 | Ultrawave sonicator | 44563
MMEW5547 | Fisher Sonicating water bath | FB15046 101158056
MMEW5351 | Vortex | 5B5A012141
| Fisher Vortex | 455977
MMEW6134 | Stuart mini Gyro Rocker | R220D00498
| Incusafe | 11040001 | RJT
| Fisher Gel | 5328
Chem Eng | Pump Watson Marlow x2 | 22045/CG4027
MMEW4320 | Heating block, Grant QBA2

## H29
H29
Lab Leader
Month/Year
Asset No. | Equipment | Serial No. | Person Responsible | Maintenance Performed | By Who | Date
MM5512 | Class II Biological Safety cabinet | 41204552 | CK/KS
MM4535 | Biospec mini | U20024400207
MMEW6043 | Fridge LEC |  | CK/KS
MMEW4680 | Freezer LEC |  | CK/KS
MM6121 | CO2 incubator Herasafe 150i Thermo Fisher | 41607959 | JB
MM6122 | Centrifuge Megafuge 16 | 41591375 | JB
MMEW4790 | water bath, Grant | UE1438002 | Housekeeping
MMEW4788 | weighing balance, Ohaus | 8334406206
MM6270 | Chemi Doc-162 Imager, UVP | 97-0693-04 | ER
MMEW7181 Chem Eng kit | Microscope, Nikon Eclipse E100 | 822240
MM6462 | Incu-Shake MIDI, Sciquip | 152A4A67 | JD
MMEW5674 | Microwave, Tesco | EB01781780116516112273 | JD
MMEW5768/MMEW5059 |  | BioRAD
Shaker ?
| Pipettes |  | CK/KS
MMEW3321 | Aspirtator Pump |  | CK/KS
| Pipette buoys |  | CK/KS
MMEW4277 | Aspirator Pump | 130484 | CK/KS
MM6193/MMEW4789 | EVOS Microscope
chem eng kit | Hotplate, Bibby | CB160/01016

## H30
H30
Lab Leader
Month/Year
Asset No. | Equipment | Serial No. | Person Responsible | Maintenance Performed | By Who | Date
MM6049 | Biostation CT, Nikon | 1130006
MM5468 | Cryostores Biorack 750 Bank4 |  | JB
MM6412 | Cryostores Biorack 750 Bank 5 |  | JB
| Cryostores Biorack 750 Bank 6 |  | JB
MM6411 | Cryostores Biorack 750 Bank 7 |  | JB
| Cryostores Biorack 750 Experimental |  | JB
FE0440 | Fluorescent Inverted Microscope
MMEW3376 | Prior Proscan
MMEW1586 | Biocote Vortex
MMEW3011 | Freezer, LEC |  | CK/KS
Innovatis ( part of Compact)
| Nucleocounter, Chemometec (MMEW4981-power supply) |  | AE

## H31
H31
Lab Leader
Month/Year
Asset No. | Equipment | Serial No. | Person Responsible | Maintenance Performed | By Who | Date
FE0463 | Autoclave, Systec VX-95 | FE0463 | CK/KS
FE0464 | Autoclave, Systec VX-95 | FE0464 | CK/KS
MM5890 | Cryostores Biorack 750 Bank 1 |  | JB
MM3974 | Cryostores Biorack 750 Bank 2 |  | JB
| Cryostores Biorack 750 Bank 3 |  | JB

## T208 Wolfson
T208
Lab Leader
Month/Year
Asset No. | Equipment | Serial No. | Person Responsible | Maintenance Performed | By Who | Date
MMEW3233 | Freezer, LEC |  | CK/KS
| LEC Medical Fridge |  | CK/KS
MMEW6066 | Fridge, LEC |  | CK/KS
MM3960 | Class II Biological Cabinet, Faster | BSCG26103 | CK/KS
MM5608 | Class II Biological Cabinet, Herasafe KS | 41204553 | CK/KS
MM5481 | CO2 Incubator, Heracell 150i | 41177819
MMEW3791 | Heraeus Biofuge Primo R, Thermo Scientific | 41202355
MM3574 | Microscope, Olympus CKx41
MM3967 | Elga water purifier, option S7
MM6427 | Temperature incubator, Ascon Technologic
MMEW3228 | Water bath, Clifton | 90887
MM4508 | Autoclave, Systec DX 90 | 741
MMEW3238 | Balance adventurer Pro, Ohaus | 8732077813
MMEW3237 | Balance, Ohaus | 8732077775
MMEW5995 | Microcentrifuge, Minispin, Eppendorf
MMEW3694 | Vortex, Fisherbrand | 25095
MMEW6071 | Microscope, Kern Optics | OME14C0153
MM6431 | minus 80 freezer, National lab Proimaster (donated) | PMU0680-1
MMEW5997 | Spectrophotometer, Shimadzu
MMEW5998 | Microbiological incubator, orbital incubator
MM5607 | minus 80 freezer, Fryka
MM1469 | LDS Test and measure
Fisher Isotemp
Chem Eng | Fisher balance
Hanna PH meter
MMEW7008 | Techgene
WPA Biochron
MM5155 | UPS
MMEW7086 | Infinite Plate Reader
Pipettes
Pipette Buoys
Aspirator Pump
MMEW6982 | Amica
MMEW5875 | Heat sealer, ME-300EFN | 515975

## CTMF
CTMF
Lab Leader
Month/Year
Asset No. | Equipment | Serial No. | Person Responsible | Maintenance Performed | By who | Date
MM5104 | CO2 Incubator, Thermo Scientific, Heraeus, BBD6220
MM5102 | Fridge, Thermo Scientific
MM5929 | Freezer, Liebherr Comfort
MMEW3797 | Cryostore, Thermo Fisher | 508297-207
MM5107 | Cryostorage pressurised dewar, Statebourne
MM5106 | Cryostorage pressurised dewar, Statebourne
MM5930 | Fridge, Liebherr
MM5503 | Biological safety cabinet, Herasafe KS | 41203195
MM4271 | Controlled rate freezer, Planar Kryo 560-16
MMEW3797 | Thermo Cryoplus
MMEW5563 | Millipore Integrites
Arlyn Scales x 2
MM5378, MM5377 | Microscopes x 2
MMEW5551 | Weigh Scales OHAUS
MM6416 | Kros Flow TFF System
MM6417 | qNANO
MMEW6454 | Kros Flow Pressure valve
MMEW5552 | Kros Flow Research TFF system
MMEW5549 | Kros Flow Peristaltic pump
MMEW5546 | Vortex, Fisherbrand | 371964
No asset | Microflow BSC | 20071223600 | SK
No asset | Clean Air Fume Cabinet | 12948 | SK
| Leica Microtone | 4986 | SK
Innovtis ( part of Compact)

## H14H18
H14/H18/
Lab Leader
Month/Year
Asset No. | Equipment | Serial No. | Person Responsible | Maintenance Performed | By who | Date
MMEW5723 | minus 20 freezer, Liebherr Profiline | 83.817.891.9 | CK/KS
MMEW6237 | minus 20 freezer, Labcold | 7144231 | CK/KS
CR217 | minus 20 freezer, LEC |  | CK/KS
MMEW1822 | Orbital spinner, Nickel Electro Ltd | 76459 | CK/KS
MMEW5568 | Tube roller, Biorad | A5090278
MMEW3009 | minus 20 freezer, Thermo Scientific, R600A | 20083594462 | CK/KS
MMEW3292 | minus 20 chest freezer, Norfrost | 0911/0828078 | CK/KS

## Bulk Store
Bulk Store /In Storage /Office
Lab Leader
Month/Year
Asset No. | Equipment | Serial No. | Person Responsible | Maintenance Performed | By who | Date
MMEW6367 | Creator 3D Printer ( office) | FFC180459
MMEW3381 | Heat Sealer
MMEW3816,MMEW5976,MMEW3813 | 3 x Bioreactor ( Bulk Store) | Sartorius
MMEW2993 | Staurt Mini oribial shaker | R210000178
MM6531 and MMEW6154 | Appliko Biotechnolgy x2 | Z310210011 &?
WS0112 | TSCD II Sterile tubing welder
WS0152 | Power Supply
Gas Analyser
MMEW3811, MMEW3826, MMEW3815 | Tandem gas analyser x 3
Grant Control rate freezer EF600
MM5862 | Statebourne Cryostorage
Das Gip ( Bulk Store)