## Sheet1
No. | Date | Year | Responsibility | Title | Status
12 | 2009-04-02 | 2009 | AC | Air supply failure to GMP Area | Open
13 |  | 2009 | ER | Compact Select multiple adverse events
14 | 2009-07-08 | 2009 | YL | Fungal infection observed in the Galaxy incubator | Closed
15 | 2009-07-07 | 2009 | AC | Compact failure in manual and automated modes | Closed | 2009 | 8
16 | 2009-10-05 | 2009 | AC | CO2 alarming | Closed | 2010 | 12
17 | 2009-10-26 | 2009 | ER | Compact Robot failure | Closed | 2011 | 11
18 | 2009-10-15 | 2009 | CLK | Unexpected CO2 depletion | Closed | 2012 | 9
19 | 2009-12-18 | 2009 | MWN | Gallenkamp incubator failure | Closed | 2013 | 6
20 | 2010-02-17 | 2010 | AC | CBE Class 2 lab air handling failure | Closed | 2014 | 14
21 | 2010-04-27 | 2010 | ER | Fungal infections observed in the Galaxy and Sanyo incubators | Closed | 2015 | 10
22 | 2010-05-12 | 2010 | AI/JJJG | Contamination in cultures |  | 2016 | 14
23 | DOES NOT EXIST |  |  |  |  | 2017 | 10
24 | 2010-02-22 | 2010 | JJJG/ER | Issues with Compact | Closed | 2018
25 | 2010-05-20 | 2010 | AW | Temperature rise in the CBE labs
26 | 2010-06-08 | 2010 | EAR | Fridge/freezer breakdown | Closed
27 | 2010-08-24 | 2010 | KS/AC | Autoclave breakdown | Closed
28 | 2010-08-24 | 2010 | KS/AC | Removal of equipment without decontamination certificate | Closed
29 | 2010-10-25 | 2010 | KS | Temperature rise in the CBE cold room | Closed
30 | 2010-11-11 | 2010 | AC | Autoclave temperature probe broken | Closed
31 | 2010-11-26 | 2010 | KB | Cells not attaching
CTMF/CAPA/001 | 2010-12-07 | 2010 | AC | Flooding disaster | Closed
33 | 2011-04-06 | 2011 | JJJG | Freezer in T208B accidentally uplugged | Closed
34 | 2011-04-08 | 2011 | KS | Autoclave had spills | Closed
35 | 2011-05-05 | 2011 | KS | Wolfson T.2.08B was not locked. | Closed
36 | 2011-04-20 | 2011 | KG | Centrifuge broken | Closed
37 | 2011-06-13 | 2011 | PH/RJT | Cryostorage unit left open
38 |  | 2011 | KB | Mycoplasma testing | Closed
39 | 2011-10-14 | 2011 | ER | Incident where CO2 pipe burst and hurt contractor | Closed
40 | 2011-11-14 | 2011 | Andreea | BSC grills had a large spill | Closed
41 | 2011-11-22 | 2011 | Vicki/Carolyn | Persistent infection in H21 incubators | Closed
42 | 2011-12-02 | 2011 | AC/QR | CO2 burst pipe in H27 | Closed
43 |  | 2011 | VW | Microbial contamination in an AMBR vessel and several flasks in an incubator in H27 | Closed
44 | 2012-03-02 | 2012 | AC | Air handler failure in the CBE | Closed
45 | 2012-05-22 | 2012 | VW/AI | Issues with the Guava | Closed
46 | 2012-05-22 | 2012 | AC/CK/KS | Cracked floor in the autoclave room | Closed
47 | 2012-07-11 | 2012 | JJ | Centrifuge damaged in H22 | Closed
48 | 2012-07-11 | 2012 | CK/RIT/?? | Red spill in the CBE labs | Closed
49 | 2012-11-20 | 2012 | AC/KM/Don Whiteley engineer | Recurrent breakage of the temperature probe leading to incorrect programming of a waste cycle in the autoclave | Closed
50 | 2012-11-20 | 2012 | CK/CLK/RIT | Cytotoxic waste left out in the CBE potentially for a long time | Closed
51 | 2012-11-24 | 2012 | MPV/JJG/AC | Spill of Cedex waste on the H21 floor | Closed
52 | 2012-02-24 | 2012 | CK/AC/KS | Cracked floor in the autoclave room | Closed
53 | 2013-03-05 | 2013 | AC | Cytotoxic waste left in the CBE autoclave room waste cage | Closed
54 | 2013-06-24 | 2013 | AC | Low levels of liquid nitrogen in the cryostores | Closed
55 | 2013-06-27 | 2013 | AC | Freezer in H25 turned off | Closed
56 | 2013-07-08 | 2013 | AC | H-22 BSC not working | Closed
57 | 2013-10-28 | 2013 | Dave Smith | Box containing 2 units of MNCB were removed | Closed
58 | 2013-11-04 | 2013 | Will Bowen/AC | Breaking of the Guava | Closed
59 | 2014-02-19 | 2014 | Rachel Bayley | Contamination in cultures | Closed
60 | 2014-03-06 | 2014 | Helen Jessen/Flora Ruitter | Contamination in cultures | Closed
61 | 2014-03-06 | 2014 | Qasim Rafiq | Contamination in H25 | Closed
62 | 2013-04-15 | 2014 | Petra | Breakage of the dark room microscope | closed
63 | 2014-05-07 | 2014 | Preeti | Bacterial infection in 1 well plate in H25 (possibly due to incomplete sterilisation of polydimethylsiloxane kit) | Closed
64 | 2014-09-16 | 2014 | Preeti | Bacterial infection localised to one 6 well plate | Closed
65 | 2014-09-19 | 2014 | Emma | Infection in cultures | Closed
66 | 2014-09-19 | 2014 | AC | Gas leaks in the lab | Closed
67 | 2014-10-27 | 2014 | Pete Mitchell | Contamination in the compact on the Reneuron line | Closed
68 | 2014-10-13 | 2014 | Dan Curry | Fungal contamination identified in culture of primary bovine tissue | Closed
69 | 2014-10-16 | 2014 | Rachel Bayley | Infection in cultures of cord blood CD34+ cells in H21 | Closed
70 | 2014-11-05 | 2014 | Nathalie Robinson | Bacterial infection in seven 6 well plates with MSCs in DMEM | Closed
71 | 2014-11-20 | 2014 | Aleksandra | Infection in a T25 flask | Closed
72 | 2014-11-29 | 2014 | Mark | Mycoplasma contamination in H25 flask | Closed
73 | 2015-02-25 | 2015 | Dan Curry | Mould outbreak in T.208B incubator | Closed
74 | 2015-05-05 | 2015 | Tom Heathman | Disconnection of the -80C freezer | closed
75 | 2015-06-17 | 2015 | Nathalie Robinson | Contamination | Closed
76 | 2015-07-07 | 2015 | Amit Chandra | Leaking of nitrogen in H34 | closed
77 | 2015-09-09 | 2015 | Andy Picken | Contamination in H25 | closed
78 | 2015-09-17 | 2015 | Forhad Ahmed | Contamination in ambr cultures | closed
79 | 2015-10-14 | 2015 | Pete Mitchell | Contamination in H27 cultures | closed
80 | 2015-10-30 | 2015 | Andreea/Andy | Contamination in cultures | closed
81 | 2015-11-02 | 2015 | Lizzie Cheeseman | Contamination in cultures | closed
82 | 2015-11-30 | 2015 | Amit Chandra | Issues with CBE air handler | closed
83 | 2016-01-11 | 2016 | Amit Chandra | CO2 gas cylinders ran out | closed
84 | 2016-02-15 | 2016 | Alexandra Stolzing | Positive results for mycoplasma test | closed
85 | 2016-03-14 | 2016 | Chris Gabbott | HaCAT cells unable to seed | Open
86 | 2016-05-02 | 2016 | Amit Chandra | CO2 gas cylinders ran out | closed
86 Annex 1
87 | 2016-05-11 | 2016 | Mark | H34 Freezer F03 door left open | Open
88 | 2016-05-23 | 2016 | Steven | H23 Incubator alarming | Withdrawn
89 | 2016-05-27 |  | Petra | Contamination | closed
90 | 2016-06-22 | 2016 | Amit Chandra | T208B Faster BSC failing KI discuss test | closed
91 | 2016-08-01 | 2016 | Mattia N | Contamination in cultures | closed
92 | 2016-08-24 | 2016 | Amit Chandra | Material and personnel brought into labs without assessments | closed
93 | 2016-10-10 | 2016 | Dimitris Tampakis | Contamination during training | closed
94 | 2016-10-20 | 2016 | Amit Chandra | Contamination during cell culture | Closed
95 | 2016-10-31 | 2016 | Jeroen Schmidt | Contamination | closed
96 | 2016-10-21 | 2016 | Sammy Wilson | Contamination | closed
97 | 2017-03-01 | 2017 | Nick Wragg | contamination | closed
98 | 2017-03-20 | 2017 | Becky Grant | contamination | closed
99 | 2017-04-03 |  | Qian Liu | contamination
100 | 2017-04-16 |  | A.Picken | contamination | closed
101 | 2017-05-11 |  | Matt Moles | contamination | closed
102
103 | 2017-05-19 |  | A.Picken | Mycoplasma infection | closed
104
105 | 2017-06-05 |  | C.Kavanagh | BSC fault | closed
106
107 | 2017-07-26 |  | Sammy Wilson | Contamination | closed
108
109 | 2017-11-25 |  | Mark McCall | Gases | closed
110 | 2017-12-04 |  | Andy Picken | Cedex bioanaylser | closed
111 | 2018-02-05 |  | Mark McCall | contamination | open
112 | 2018-02-05 |  | Mark McCall | contamination | open
113 | 2018-02-06 |  | C.Kavanagh | unlabeeled vials | closed
114 | 2018-02-14 |  | K.Sikand | Gas cylinders | closed
115 | 2018-02-26 |  | J.Schmidt | cell culture contamination | closed
116 | 2018-02-28 |  | C.Gabbott | defrosted vials | closed
117 | 2018-05-09 |  | M.Moles | minus 80 Freezer | open
118 | 2018-05-25 |  |  | leak from air conditioning | closed
119 | 02\07\2018 |  | C.Kavanagh | Biological samples | closed
120 | 2018-04-24 |  | Callum Crane | Broken Incubator calibration kit | closed
121 | 2018-07-05 |  | K.Sikand | minus 80 freezer | closed
122 | 2018-12-12 |  | J.Bowdrey | incubator glass shatter In H25 | Closed
123 | 2018-03-01 |  | K.Sikand | Samples left out of freezer | closed
124 | 2019-03-27 |  | C.Kavanagh | Chemical spill in Gas Pod | Open
125 |  |  |  | Missing Samples | open
126 | 2019-06-20 |  | K.Sikand | Air Handler Unit Fail | Open
127 | 2020-05-21 | 2020 | K.Sikand | Temperature in the CBE labs increasing | open