|  |  |
| --- | --- |
| Loughborough University | **Document Change Note** |
| **The Centre for Biological Engineering** |
| Document Ref: HTA-QS-FORM/003 | Version No: | 1.0 | Issue Date: |  |
|  |  |
| **DCN No: CBE-HTA/DCN/0002** |  |

|  |  |  |
| --- | --- | --- |
| **Document Reference(s):** | **Document Title:** | **Current****Version No:1** |
| **HTA-PR-004** | Receipt and Storage of HTA Licenseable material |
| **Reason for** **and overview of the change requested:** | Following an HTA inspection audit in July 2018 it was identified that we needed a system for being able to label frozen samples and ensure that information written on any sample vials could be cross matched with Pro-curo.Therefore the SOP has been updated to highlight the importance of labelling and to signpost people to the labels available. |
| **Revision Category:** |[ ]  All personnel performing this procedure/process must read this version & complete the necessary training |
|  |[x]  All personnel performing this procedure/process must read this version |
|  |[ ]  No significant changes to document content – no requirement for personnel performing this procedure/process to read this version or complete training |
| **Systems effected by change:** | All personnel working with HTA material will need to read this revised version of the SOP and update training files.Training has been updated to include this information. | **Other Changes required to implement:** | None.New labels have been purchased . |
| **Date:****11/02/2019** | **Raised by:****C.Kavanagh** | **Date:****11/02/2019** | **Approved by (dQM):****C.Kavanagh** |