QS-Form-014: BSC Daily Usage Record Sheet

| QS-Form-014: DAILY USAGE RECORD SHEET |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Building/Room: |  |  |  |  |  |  |
| Safety Cabinet Model/Name: |  |  |  |  |  |  |
| Safety Cabinet ID | Class: |  | Serial No: |  | Ducted Y/N: |  |

| Date | Reason for Use | UV activated1 (hrs) | Down Flow Velocity2 (0.25 – 0.5 m/s) | PER Value3 (>602) | Cleaned after use (Y/N) | Aspiration bottle refreshed (Y/N) | Initial |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1Record cumulative number of hour’s usage. Replace bulb after 1500 hrs – notify Laboratory Manager |  |  |  |  |  |  |  |
| 2 If down-flow out of range, place DO NOT USE sign on cabinet and inform Lab Manager immediately |  |  |  |  |  |  |  |
| 3 If PER value below 60, place DO NOT USE sign on cabinet and inform Lab Manager immediately |  |  |  |  |  |  |  |